## Sheet1
SKU | 货号 | 名称 |  | 类型
20001 | ZM063500 | Photometer lamp | 光度计灯泡 | AU | Y
20002 | MU988800 | Photometer lamp | 光度计灯泡 | AU | Y
20003 | MU855000 | LAMP AU5800 |  | AU | Y
20004 | ZM011100 | Sample syringe | 样本注射器 | AU | Y
20005 | ZM011200 | Reagent syringe | 试剂注射器 | AU | Y
20006 | ZM063400 | Cuvette 6mm (pkg of 10) | 比色杯6mm | AU | Y
20007 | MF7443 | DIAPHRAGM (For Vacuum Tank) | 泵膜（真空泵，费液泵） | AU | Y
20008 | MU826700 | Mixing Bar-L Shape |  | AU | Y
20009 | MU855200 | Cuvette |  | AU | Y
20010 | MU858100 | REAGENT PROBE |  | AU | Y
20011 | MU959900 | Mixing Bar-S Shape |  | AU | Y
20012 | MU962300 | P tube (For MID solution dispense and Mixture aspiration) | 蠕动泵管 | AU | Y
20013 | MU993400 | SAMPLE PROBE |  | AU | Y
20024 | ZM022900 | SYRINGE CASE |  | AU | Y
20025 | MU855400 | MIXING BAR S SHAPE |  |  | Y
20029 | MU995800 | R probe | 试剂针 | AU | Y
20031 | MU3228 | MIX MOTOR |  | AU | Y
20036 | DP128600 | Converter (PS2) | 2号电源 | AU | Y
20037 | MU960500 | 60ML BOTTLLE 20PCS |  | AU | Y
20038 | B44183 | AU480 PM kit |  | AU | Y
20039 | MU7202 | RP holder assy 1 | 试剂针支架 | AU | Y
20040 | MU6951 | SP holder assy 2 | 样品针支架 | AU | Y
20041 | MU855500 | L Bar AU5800 |  | AU | Y
20042 | MU5031 | NOZZLE S | 喷嘴 | AU | Y
20043 | MU820600 | Probe S1 | S1 样本针（带管道及接头） | AU | Y
20044 | ME8482 | Bellows | 风箱型泵膜 | AU | Y
20045 | MU8518 | WS nozzle | 清洗站清洗针（3合一） | AU | Y
20046 | MU7624 | SENSOR ASS'Y5 | 传感器 | AU | Y
20047 | DS416100 | Photo reflector | 反射式光电传感器 | AU | Y
20048 | MU3607 | 520BCNC1A (DC valve relay PCB) | 直流电磁阀控制板 | AU | Y
20049 | MU6032 | 253BCPU1A (CPU PCB) | CPU板（MV2377）-主板上的附属小板 | AU | Y
20050 | DP128400 | Converter (PS1) | 1号电源 | AU | Y
20051 | DP128500 | Converter (PS3) | 3号电源 | AU | Y
20052 | MU7981 | 253 valve ass'y (V16,V17,V18,V19,V24) | 电磁阀 | AU | Y
20053 | MU7646 | VALVE ASS'Y 2 (V4, V10, V11, V16, V19, V22, V23, V25, V26, V28, V29, V31, V32) | 电磁阀 | AU | Y
20054 | MU7700 | VALVE ASS'Y (V14, V18, V21) | 电磁阀 | AU | Y
20055 | MU7689 | SOLENOIDO ASS'Y | 电磁阀 | AU | Y
20056 | MU7685 | VALVE ASS'Y (V24, V27, V33) | 电磁阀 | AU | Y
20057 | MU7696 | VALVE ASS'Y (V30) | 冲洗站排废电磁阀 | AU | Y
20058 | MU6033B | 253BANL1A (ANL Control PCB) | ANL控制板（MV2378） | AU | Y
20059 | MU5712 | Float SW 1 | 浮子开关 | AU | Y
20060 | MU5881 | FLOAT SWITCH (For DI Water Tank ) | 去离子水浮子开关 | AU | Y
20061 | MU7657 | FLOAT SW ASS'Y 2 | 真空罐浮子开关 | AU | Y
20062 | MV2327 | 520C0091(FD liquid level detection sensor cable) | 试剂针液面检测线 | AU | Y
20063 | MU960200 | Drying nozzle | 清洗站干燥针 | AU | Y
20064 | MW0175 | Dry nozzle | 清洗站干燥针 | AU | Y
20065 | MU6950 | SP holder assy 1 | 样品针支架 | AU | Y
20066 | ZM1187 | Poalon tube (Long tube: 1.6mmx3.5mmx5m ) | 通用管道(内径*外径*长度) | AU | Y
20067 | DS378800 | Sensor | 传感器（反射式） | AU | Y
20068 | DS375300 | Sensor | 反射式光电传感器（CD单元） | AU | Y
20069 | MU3614B | PHOTO DETECT BOARD | 光电传感器板（PDA) | AU | Y
20070 | MW0167 | 519BPHC1A (Photometry Control PCB) | 光度计控制板 | AU | Y
20071 | MU795203 | 541BPHC1A (Photometry control PCB) |  | AU | Y
20072 | MU4512 | FILTER CASE (For DI Water) | 过滤器套 | AU | Y
20073 | MU6042 | 253BRFC1A (Reagent Compartment Control PCB) | 试剂仓运动控制板(MV2382) | AU | Y
20074 | MU7607 | P MOTOR ASS'Y 1 | 试剂仓马达 | AU | Y
20075 | MF4326 | MOTOR GEAR (For Mixing Unit) | 齿轮（固定在搅拌针马达轴上的-蓝色齿轮） | AU | Y
20076 | MU6060B | 514BTCA1A (Peltier Control PCB for DB unit) | 冰箱控制板 | AU | Y
20077 | MU9601 | Aspiration nozzle | 清洗站吸水针 | AU | Y
20078 | MU7633 | PRESSURE SENSOR (For Sample) | 样品针压力传感器（堵针检测） | AU | Y
20079 | MU6196 | Pressure sensor ass'y (Sample clogging detection) | 压力传感器（样品针堵针检测） | AU | Y
20080 | MU795903 | 541BSPM1A (S pressure monitor PCB) | 样本针防堵压力传感器检测板 | AU | Y
20081 | DT123800 | Pressure sensor (For Vacuum Tank Pressure) | 真空罐压力开关 | AU | Y
20082 | DP040100 | Converter (PS7: 5V) | 7号电源 | AU | Y
20083 | DP084800 | Converter (PS3,4 : 24V) | 4号电源 | AU | Y
20084 | MU796302 | AC\DC drive borad |  | AU | Y
20085 | DP070900 | Converter (PS2 : 5V , +/-15V) | 2号电源 | AU | Y
20086 | DP134100 | Converter (PS4) | 4号电源 | AU | Y
20087 | DP141200 | Converter (PS5) | 5号电源 | AU | Y
20088 | 468666 | Motor drive board | 马达驱动板 | AU | Y
20089 | A37245 | PM kit |  | AU | Y
20090 | A83860 | PM "A"kit |  | AU | Y
20091 | A10162 | pump diaphragm |  | AU | Y
20092 | B44186 | PM Kit AU680 |  | AU | Y
20093 | MF6533 | S nozzle | 清洗站冲洗针（单针洗液） | AU | Y
20094 | MF4495 | WS nozzle | 清洗站冲洗针（3合1通用） | AU | Y
20095 | MW0182 | 514 valve ass'y (V11, V25, V29 , V32 , V34) |  | AU | Y
20096 | ME8481 | Popped valve | 单向阀（配套风箱型泵用） | AU | Y
20097 | MU6232 | 253 valve ass'y (V8, V9, V10, V27, V28) | 针清洗杯纯水供应阀V8,9,10，清洗站3-6针纯水V27/V28，配置清洗液的纯水V34(CA) | AU | Y
20098 | MU7944 | Liquid sensor (Detergent detect sensor) | 浓缩洗液液位传感器(浮子开关） | AU | Y
20099 | MW0166 | 519BSPM1A (S Pressure Monitor PCB) | 样品针压力传感器板 | AU | Y
20100 | MU809600 | Rack Yellow |  | AU | Y
20101 | MW016903 | 519BRLS1A (S Level Detection PCB) |  | AU | Y
20102 | B37620 | VALVE |  | AU | Y
20103 | MU846500 | Cuvette 5mm (pkg of 10) | 比色杯5mm | AU | Y
20104 | MU823900 | E SYRINGE |  | AU | Y
20105 | ZM1976 | Liflon tube (Long tube: 12mmx18mmx10m) | 通用管道(内径*外径*长度) | AU | Y
20106 | MU820700 | S2 PROBE | S2 样本针（带管道及接头） | AU | Y
20107 | ZM29700 | PINCH VALVE TUBEING |  | AU | Y
20108 | MU919600 | CL ELECTRODE | CL电极 | AU | Y
20109 | MU919500 | K ELECTRODE | K电极 | AU | Y
20110 | MU919400 | NA ELECTRODE | NA电极 | AU | Y
20111 | MU919700 | REF ELECTRODE | 参考电极 | AU | Y
| MB6812 | Feeder plate | 样本架传输链条片（塑料材质）
| MF0226 | Feed plate | 样本架传输链条片（塑料材质）
| MF1607 | Feeder plate | 样本架传输链条片（塑料材质）
| MF4743 | Feeder plate | 样本架传输链条片（塑料材质）
| DY201300 | Magnet | 磁铁
| GB5598 | Y CONNECTOR (For φ7) | Y型接头（塑料材质）
| GB5599 | Y connector 2 | Y型接头（塑料材质）
| GB5600 | T connector (For φ7) | T型管道接头
| MU7446 | RP holder assy 1 | 试剂针支架
| MU7447 | RP holder assy 2 | 试剂针支架
| DS353800 | Sensor | 光电传感器（透射式）-通用，常用
| KK2029 | Connector | 管道接头
| DB190200 | Fuse | 保险
| MU795104 | 541BANL1A (ANL-CPU PCB) | 主板
| DP067900 | Converter (PS1 : 5V , +/-15V) | 1号电源
| DP083100 | Converter (PS5 : 24V) | 5号电源
| DP110300 | Converter (PS6 : 12V , +/-15V) | 6号电源-比色灯电源
| MW0483 | Pump ass'y4 (Vacuum pump) | 真空泵
| MU6430B | 253BRLS1A (Sample Liquid Sense PCB) | 样品针液面检测板
| DZ439800 | PM driver | 样本针旋转马达
| ME552500 | AFB grease | 保养用润滑脂
| ME8477 | DIAPHRAGM (For Waste Water Pump) | 泵膜--费液泵
| MD4102 | NOZZLE GUIDE | 洗站针导向套管(固定在针外面，使针可以上下滑动）
| ME8479 | Popped valve | 单向阀（配套风箱型泵用）
| MU6034 | 253BENC1A (Ethernet PCB) | 网卡接口板(ANL MAIN BOARD)-主板上的附属小板
| MA4966 | Liflon tube (Long tube: 7mmx13mmx10m) | 通用管道(内径*外径*长度)
| MB9963 | Braid hose (Long hose: 12mmx18mmx10m) | 通用管道(内径*外径*长度)
| SD0016 | Poalon tube (Long tube: 2.5mmx4.5mmx10m) | 通用管道(内径*外径*长度)
| SD0017 | Poalon tube (Long tube: 5mmx9mmx10m) | 通用管道(内径*外径*长度)
| SD0018 | Poalon tube (Long tube: 7mmx10mm10m) | 通用管道(内径*外径*长度)
| MU6046C | 253BRLS1A (Reagent Liquid Sense PCB) | 试剂液面检测控制板(MV2500)
| MU6901 | Peltier ass'y | 半导体制冷模块
| MD7749 | Packing | 密封圈（比色杯清洗站后面废液收集器罐上）
| MB0031 | Seal | 密封圈
| MF4325 | Mix gear 30 (old PN=MD7076) | 搅拌马达旁边的从动齿轮（塑料）
| DM266300 | Motor | 搅拌马达
| MU2968 | 520 PM ass'y 10 | 搅拌浆旋转马达
| MD7512 | Collar (For mix bar) | 搅拌浆连接轴套
| MU6036J | 253BPHM1A (Photometry Control PCB) | 光度计控制板
| MU5707 | float SW | 浮子开关
| ME8480 | Bellows | 风箱型泵膜
| MU5727B | PUMP ASS'Y (Waste water pump) | 废液泵
| ME8478 | VALVE (For Waste Water Pump) | 电磁阀（费液泵）
| MW054100 | SENSOR ASS'Y12 | 传感器
| MW0269 | VALVE ASS'Y | 电磁阀
| MU6420D | GB unit (IN) | 单色器组件（内圈）
| MU6421D | GB unit (Out) | 单色器组件（外圈）
| MU797103 | M541-GB01 (Photometry Unit) | 单色器组件
| A49945 | PCB,Stepper motor conrol
| 7884A | Valve,Wash Tower Vaccuum
| A24758 | Pump,Vaccuum
| 8177A | Sensor
| 7877A | Sensor
| 973005 | Vessel Holder(65)
| 973006 | Vessel Holder(home)
| 973023 | Temperature Sensor
| 72463 | Belt,Incubator
| 75803 | Motor,Wash/Prec Valve
| 386214 | Belt,Mixer
| 87144 | Beam,Stay,RV Shuttle,Brown
| 78831 | Valve,Substrate
| 84421 | Bearing,Wash Carousel
| 6071 | 3 INCH TIP TRANSDUCER
| 82971 | 10T MIXER ASSY,3-RING
| 82981 | 14T MIXER ASSY, 3-RING
| 74883 | Belt, Pump, Precision
| 75803 | Motor,Wash/Prec Valve
| 6354B | SEAL, LOWER
| 6353B | SEAL,UPPER
| 85411 | O-RING,3-WAY VALVE底物阀
| 8648A | BRNG, BALL .250ID X .50
| 5322A | 0-RNG, UPPER, WASH
| 5336A | FST,O-RING,LOWER/.55ML
| 6806442 | Aperture,RBC and bath assembly
| 6806443 | Aperture,WBC and bath assembly
| 4004097 | Board,Switching supply,power supply module
| 2527827 | Belt,Traverse horizontal drive ,ACT.DIFF2 analyzer
| 6805032 | Chamber,Vacuum isolator and waste assembly,moduled
| 6232803 | Filter,fluid barrier ,0.45 microm,green
| 6805344 | Lamp,Hgb photometer assembly
| 6805357 | Photodiode,Hgb photometer and housing ,moduled
| 6806496 | Sensor,optical,position,ACT.DIFF2 analyzer
| 2302008 | Sensor,vacuum transducer,8vdc reference,ACT.DIFF2
| 3230084 | Tubing,larrge Bio-chem solenoid pinch,ACT.DIFF2 analyzer
| 6232869 | Valve,larrge Bio-chem solenoid pinch,ACT.DIFF2 analyzer
| 6232780 | Valve,solenoid ,angar@fluidic,2-way,ACT.8/10 and ACT.DIFF analyzer
| 6232779 | Valve,solenoid ,angar@fluidic,3-way
| 6232929 | Valve,solenoid,pneumatic,3-way
| 6232933 | Valve,solenoid,fluidic,2-way,ACT.DIFF2 analyzer
| 6232931 | Valve,solenoid,fluidic,3-way,ACT.DIFF2
| 6232870 | Valve,solenoid,pinch,3-way,ACT.DIFF2 analyzer
| 6232932 | valve,solenoid,takasago fluidic,2-way,ACT.DIFF2 analyzer
| 6857371 | Particles,latex,for latex gain adjustment
| 6233052 | Filter,water,hydrophiclc,5u,with male luer fitting
| 6002022 | Cable,traverse module flex,ACT.DIFF2
| 6806494 | Pump,waste ,KNF
| 6807001 | Pump,FMI,50ul,sample
| 6806493 | Pump,FMI,100ul,diluent/lyse
| 6233071 | Pump,KNF Dual-head vacuum/pressure,24vdc,brushless
| 6233045 | Filter,Waste
| 6915526 | Filter,Water
| 469499 | GLU electrode | GLU 电极
| 467769 | Ca electrode | Ca电极
| 441930 | CL electrode | CL电极
| 669117 | K electrode | K电极
| 660318 | CO2 electrode | CO2电极
| 668295 | Na electrode | Na电极
| 758383 | Paddle mixer-gold plated | 搅拌针
| 759927 | wiper | 胶刷
| 661750 | Membrane | 二氧化碳膜
| 450661 | source lamp for CA/CREA/TP | CA/CREA/TP 灯
| 450682 | kit,prevnt-maint-ratio | 比例泵保养包
| 758510 | drain pump-PKG | 排废泵
| 758493 | wash/vac probe | 洗站洗针1-4#
| 758498 | VACUUM PROBE ASSEMBLY-PKGD | 洗站洗针5-6#
| 448974 | reagent syringe tip | 试剂注射器芯
| 448945 | sample syringe tip | 样本注射器芯
| 946448 | Check valve | 单向阀（大）
| 946091 | Check valve | 单向阀（小）
| 759282 | DI WATER REGULATOR(10 PSI) | 10PSI调节阀
| 759358 | 5 PSI AIR REGULATOR | 5PSI调节阀
| 949946 | Compressor/pump rebulit Kit | 压缩机泵膜（旧）
| 758407 | Cuvette | 比色杯
| 758982 | MOTOR ASSY, MIXER | 搅拌针马达
| 758419 | REAGENT PROBE ASSY (PKGD | 三通阀
| 464791 | SAMPLE PROBE | 标本针
| FAK001A | Aperture, RBC/Plt, 50 µ
| FAK003A | Aperture, WBC/BASO, 80 µm
| XBA389A | Photometer, HGB diode and preamp assembly
| XDA601BS | Chamber, flow cell assembly
| XDA655DS | Sampling Probe
| DAL016C | Motor, piercing mechanism
| GBG169A | Needle, piercing
| XDA611C | Valve, solenoid, liquid, 11-valve assembly (1-11)
| XDB127A(原:XDA615C) | Valve,Liquid,5-Valve Assembly(27-31)
| XBA398B | Cable, coaxial, with RBC/WBC bath electrode [OV and CP instruments]
| XAA477DS | PCB, Main card, no software[OV and CP instruments]
| XAA478AS | PCB, solenoid, cassette transfer
| GBG090A | Sampling probe rinse block [OV instrument]
| XDA751C | Valve, solenoid, liquid, 12-valve assembly (1-12)[AL instrument]
| XDB004AS | Motor assembly, reagent syringes assembly[AL instrument]
| XAA527CS | Main card[AL instrument]
| XAA459BS | Motor card[AL instrument]
| DBN004B | Power Supply module OV,CP
| DBN006A | Power Supply module AL
| XEA710BS | Kit,Maintenance,6 Months
| XEA486BS | Kit,Maintenance,1 Year
| XEA810AS | Kit,Rinse Block
| XDA827BS | Syringe,Waste Complete
| FBR011A | Belt,Probe Vertical ,364 Tooth
| FBR012A | Belt,Traverse Horizontal ,544 Tooth
| XBA394A | Sensor,Traverse Horizontal ,Home
| XBA396A | Sensor,Sample Probe Vertical ,Home
| XBA620A(原:XBA395A) | Sensor ,fluid,Bath Drain
| CAE010A | Switch ,microswitch XC5-81
| DAJ007A | Lamp ,for optic bench
| GBG275A | O-ring ,WBC & RBC Aperture
| XDB036BS(原:XDA602C) | Bath assembly ,4-unit(including long coax cable)
| LAD002DS | Latex,RBC/PLT
| GBG033A | Syringe,body,reagent syringe
| GBG034A | Syringe,reagent ,bottom
| XDB037BS(原:XDA610C) | Chamber,bath assembly ,WBC/BASO bath only (includings long coax cable)
| XDA930A | Needle Cartridge
| CAE006A | Switch ,microswitch XC5-81-82
| CAE019A | Switch ,microswitch XC5-81-84
| EAE005AS | Tubing,Tygon,1.02mm
| EAE006AS | Tubing,Tygon,1.30mm
| EAE007AS | Tubing,Tygon,1.52mm
| EAE008AS | Tubing,Tygon,2.06mm
| EAE033AS | Tubing,Tygon,1.14mm
| EAE034AS | Tubing,Tygon,2.54mm
| DAD119A | Cable,cassette transfer solenoid
| 18110838 | Dilutor Electro-valve 3 Way
| 18102443 | Brush ASSY
| 18102515 | Coagulimetric Channel LED W/Fibre